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This Overall System Evaluation is based on the general condition of the septic system on the day and time that we evaluated it.  This evaluation is useful in determining the general condition of the system at that time and is not intended to predict how long the system will continue to function.  This report is based upon observations and conditions that existed only at the time of the evaluation and must be construed as “an opinion”.  Therefore, conclusions reached and system longevity cannot be guaranteed due to unforeseen conditions or information that was not provided or available at the time of the evaluation.  
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Overall System Evaluation:  
The system is in poor condition
System recommendation:

This system will need a new leach field.  The price of a new leach field will cost between $10,000 and $30,000 depending on what the engineer designs.
Tank Comments:  

Tank was in good condition.  Filter and risers should be installed when leach field is put in.  
Drywell Comments:  

The drywell was flooded.  There was four to six inches of liquid over the top of the drywell.  I believe that is the cause of liquid in the outlet pipe.    

Inspected by James C. Cook,  NH Installer Permit # 4903
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